## Sheet1
PIQUANT code analysis
Command
Steps | Sub-steps | PRIMARY | CALCULATE | CALIBRATE | QUANTIFY | EVALUATE | MAP | COMPARE | FIT_ONE_STANDARD | BULK_SUM_MAX | ENERGY_CAL | PLOT | EM_SDD_DATA | PRINT_VERSION
Read configuration file |  | X | X | X | X | X | X | X | X | X
| XSP - borehole_read | X | X | X | X | X | X | X | X | X
| MSA - read_EMSA_PIXL (get optic_file out) | X | X | X | X | X | X | X | X | X
| fpSetupConditions(passes in conditions vector, optic file, config out param) | X | X | X | X | X | X | X | X | X
Calc primary spectrum |  | X
| if args given, singleSpectrum.calibration from arguments evStart/evPerCh | X
| quantPrimarySpec | X
setupStandards (TXT or CSV depends on arg standards_file name) |  |  | X | X |  | X |  | X | X
Get element list (from arguments) |  |  |  | X | X | X | X |  | X | X | X
Read single spectrum read_spectrum_file |  |  |  |  | X |  |  | X |  |  | X | X
| setup_spectrum_parameters |  |  |  | X |  |  | X |  |  |  | X
| check singleSpectrum.calibration().good() |  |  |  | X |  |  | X |  |  |  | X
| Generate error if above not good |  |  |  | X |  |  | X
Calculation of spectrum from FIRST standard |  |  | X |  |  |  |  | X
| if args given, singleSpectrum.calibration from arguments evStart/evPerCh |  | X
| fpPrep |  | X |  |  |  |  | X
| setupComponents |  | X |  |  |  |  | X
| convolve_Compton |  | X |  |  |  |  | X
| quantCalculate |  | X |  |  |  |  | X
Calibrate by processing spectrum from EACH standard |  |  |  | X |  |  |  |  | X
| For each standard… |  |  | X |  |  |  |  | X
| If done one standard, break | [7 empty] | X
| read_spectrum_file from standards[c].spectrumFileName |  |  | X |  |  |  |  | 1
| setup_spectrum_parameters |  |  | X |  |  |  |  | 1
| quantCombineSpectra |  |  | X |  |  |  |  | 1
| fpSetupConditions |  |  | X |  |  |  |  | 1
| build new element_list_std |  |  | X |  |  |  |  | 1
| convolve_Compton |  |  | X |  |  |  |  | 1
| quantStandard |  |  | X |  |  |  |  | 1
| quantWriteResults |  |  | X |  |  |  |  | 1
| Move element_list_std into standards[c] |  |  | X |  |  |  |  | 1
| Clear singleSpectrum, not needed, save space, set into standards[c] |  |  | X
| quantWriteCalibration TXT or CSV depends on arguments.calibration_file |  |  | X
Evaluate calibration by processing spectrum in each standard as unknown | [5 empty] | X
| Build/sort element_list_eval_master |  |  |  |  | X
| For each standard… |  |  |  |  | X
| read_spectrum_file from standards[c].spectrumFileName |  |  |  |  | X
| setup_spectrum_parameters |  |  |  |  | X
| quantCombineSpectra |  |  |  |  | X
| check live time/calibration |  |  |  |  | X
| fpSetupConditions |  |  |  |  | X
| build element_list_std_unk |  |  |  |  | X
| convolve_Compton |  |  |  |  | X
| quantUnknown |  |  |  |  | X
| quantWriteResults |  |  |  |  | X
| quantWriteMapHeader |  |  |  |  | X
| quantWriteMapRow |  |  |  |  | X
| Clear singleSpectrum, not needed, save space, set into standards[c] |  |  |  |  | X
Energy calibration on spectrum using element list | [10 empty] | X
| energy_calibrate | [9 empty] | X
| singleSpectrum.calibration() | [9 empty] | X
Build quantitative map | [6 empty] | X |  |  | X
| If arguments.spectrum_file is TXT, open file list | [5 empty] | X |  |  | X
| Start map threads | [5 empty] | X
| Loop through spectra | [5 empty] | X |  |  | X
| Get next one from file list OR get by incrementing spectrum file name | [5 empty] | X |  |  | X
| Queue map to process | [5 empty] | X
| spectrumBulkSumMax | [8 empty] | X
| set singleSpectrum meas, max_value, live_time | [8 empty] | X
| wait for map threads to finish, outputMapFile | [5 empty] | X
Quantify composition of unknown by analyzing measured spectrum |  |  |  |  | X |  |  |  |  | X
| fpSetupConditions |  |  |  | X |  |  |  |  | X
| convolve_Compton |  |  |  | X |  |  |  |  | X
| quantUnknown |  |  |  | X |  |  |  |  | X
| quantWriteResults |  |  |  | X |  |  |  |  | X
Write CSV with plot info or MSA with spectra |  | X | X |  | X |  |  | X | X | X |  | X
| quantBackground | [10 empty] | X
| arguments.plot_file extension: write_EMSA_PIXL or quantWritePlot | X | X |  | X |  |  | X | X | X |  | X
Convert output of SEND_SDD_DATA to EDR CSV | [12 empty] | X
| histogram_from_SDD_data | [11 empty] | X
| write_EDRhistogram_data | [11 empty] | X